Date: ___________________Address: _______________________________________

Mileage: ________________________ Time: _________________________________

Description of Service below.

HOME INSPECTION:

Page 1

EXTERIOR:

1. Roof Condition: ______________________________________________________

2. Rain Gutter Condition: _________________________________________________

3. Fencing Condition: _____________________Patio__________________________

4. Paint and Siding Condition: _____________________________________________

5. RV, Trailer, Disabled Vehicles: __________________________________________

6. Exterior Screens: ______________________________________________________

7. Driveway Condition: ___________________________________________________

8. Yard Condition, Weeds: ________________________________________________

9. Sprinkler/Timer: ______________________________________________________

10. Water Pressure: Pressure over 60PSI may need expansion tank:________________

INTERIOR:

11. Stove Flame/Spark: ___________________________________________________

11. Electric Stove, Coil Dish Condition. Coil Temperature: ______________________

12. Oven Temperature @ 400 Degrees, Hood Vent Clean: _______________________

13. Owner/Tenant Refrigerator Temperature.37 Degrees Recommended: ___________

14. Owner/Tenant Freezer Temperature.0 Degrees Recommended: ________________

15. Test Garbage Disposal: ________________________________________________

16. Test GFI in Kitchen and Bathrooms: _____________________________________

17. Kitchen: Sink, Facet, Dishwasher, Refrigerator: ____________________________

18. Water Heater Temperature at Nearest Faucet: ____________ with Sc53 Field Piece

19. Microwave: ________________________________________________________

20. Bathrooms: Toilet, Tub/Shower Valves: __________________________________

21. Corrosion, Mold/Mildew, Caulking: _____________________________________

22. Tub Drain Stoppers working: ___________________________________________

23. Smoke Detector and CO Test, Replace Batteries: ___________________________

24. Ceiling Leaks, Stains: _________________________________________________

25. Cracked Glass/Mirror: ________________________________________________

26. Door Conditions: ____________________________________________________

27. Flooring Conditions: _________________________________________________

28. Wall Conditions, Color: _______________________________________________

29. Animals Present: ____________________________________________________

30. Pest Issues: ________________________________________________________

31. Smell/Odor of Home: ________________________________________________

32. Number of Tenants Present: ___________________________________________

Page 2

33. Windows open and shut: _____________________________________________

34. Supplied/Tenant Washer Leaks: _______________________________________

35. Supplied/Tenant Dryer Heats and is Vented. Clean Screen: __________________

36. CO Metered: 15 Minute Timed Test. Including Boiling Water. 0-5ppm Normal /

35ppm NIOSH 8 Hour Exposure Limit / 200ppm NIOSH 15 MIN.

Exposure Limit: _______________________________________________________

37. Exterior Temperature: ________________________________ with_Sc53 Field Piece

38. Interior Temperature at Return (Ceiling Vent): ____________ with CenTech InfaRed

39. Heating Temp at Living Room Vent: ____________________ with CenTech InfaRed

40. Temperatures at A/C and Heat Air Handler: _______________ with Sc53 Field Piece

41. A/C Living Room vent Temp: _________________________ with CenTech InfaRed

42. A/C 18-20 Degree Split Normal: _______________________ with CenTech InfaRed

43. Dining Room vent Temp: ____________________________ with CenTech InfaRed

44. Kitchen vent Temp: _________________________________ with CenTech InfaRed

45. Master Bedroom and Bath vent Temp: __________________ with CenTech InfaRed

46. Hall Bathroom vent Temp: ___________________________ with CenTech InfaRed

47. Bedroom 2 vent Temp: ______________________________ with CenTech InfaRed

48. Bedroom 3 vent Temp: ______________________________ with CenTech InfaRed

49. Bedroom 4 vent Temp: ______________________________ with CenTech InfaRed

50. A/C Refrigerant: ______________________________________________________

51. A/C Pressures High side Running: ________________________________________

52. A/C Pressures Low side Running: ________________________________________

53. A/C Furnace Filter Condition, Size and Dated. Installed New Filter: _____________

54. Water Heater Age, Capacity and Condition: ________________________________

55. Fireplace: ___________________________________________________________

56. Return/Supply Air Vent Clean: __________________________________________

57. Thermostat Batteries:__________________________________________________

58. Ceiling Fan Blade/Light Condition:_______________________________________

59. Blinds Condition:_____________________________________________________

Project Source-Lowe's.

60. Check Furnace and Water Heater vents/bends for Soot/Rust.___________________

61. Drain Water Heater.___________________________________________________

ONCE A YEAR:

Oil Indoor and Outdoor Air Handler Fan  ____________________________________

Page 3

2+1

HOME FAIR HOUSING SERVICE HISTORY:

Water Pressure/Volume:__________________________________________________

Drain/Sewer Size/Volume:________________________________________________

Clean Out Drain Lines Bi-Yearly:__________________________________________

Water Heater Capacity, Gas/Electric, Occupancy:______________________________

Power Issues, GFI:______________________________________________________

Heating/Cooling Issues, Secondary Appliance:________________________________

Gas Supply Issues:______________________________________________________

Appliance Issues:_______________________________________________________

Repair History from Last Inspection:________________________________________

INSPECTION WHEN VACANT:

Crawlspace:____________________________________________________________

Insulation Condition, Wire Support:_________________________________________

Pest Inspection, Fog:_____________________________________________________

Attic Inspection: ________________________________________________________

Change Locks: _________________________________________________________

Clean Dryer Ducts_______________________________________________________

ADD FAN SPEED @ VENT

Pack tools, Check Oven is off and get thermometers out of Fridge and Oven.:

Tools/Materials: CO Detector, A/C Gauge, A/C Heat Temperature Meter X2, GFI Tester, Batteries: 9V, AA, AAA, Air Filters, Oven/Fridge Temp Gauge, Cup to test Microwave with water. Light.

NEEDED REPAIRS:

NOTES:

PICTURES:

Hours: $

Materials: $

Fee: $

Total: $

Please make check payable to Michael Dudley

Due upon completion.

Michael Dudley 702.301.1820/208.249.7423

UPDATED 3.2.17